Fact Sheet

Contents of a first-aid kit

ANSI Z308.1-1998 – Minimum requirements for workplace first aid kits

Basic kit – minimum contents and minimum quantity

Absorbent compress, 32 sq. in. (81.3 sq. cm.) with no side smaller than 4 in. (10 cm)   (1)

Adhesive bandages, 1 in. x 3 in. (2.5 cm x 7.5 cm)    (16)

Adhesive tape, 5 yd. (457.2 cm) total                        (1)

Alcohol Prep Pads	                                          (10)

Burn/First Aid treatment applications                        (6)

Medical exam / latex gloves                                    (2 pair)

Sterile pads, 3 in. x 3 in.                                          (4)

Triangular bandage, 40 in. x 40 in. x 56 in.              (1)

Additional LKGI requirements beyond ANSI requirements:

1 cold pack for each first aid kit

1 eye wash for each first aid kit (additionally each janitor/maid cart at contract sites must have a bottle of eye wash)